# Toxicant default guideline values for aquatic ecosystem protection

Nitrate in freshwater

Technical brief

June 2025

© Commonwealth of Australia 2025

Ownership of intellectual property rights

Unless otherwise noted, copyright (and any other intellectual property rights, if any) in this publication is owned by the Commonwealth of Australia (referred to as the Commonwealth).

Creative Commons licence

All material in this publication is licensed under a Creative Commons Attribution 4.0 Australia Licence, save for content supplied by third parties, photographic images, logos and the Commonwealth Coat of Arms.

Creative Commons Attribution 4.0 Australia Licence is a standard form licence agreement that allows you to copy, distribute, transmit and adapt this publication provided you attribute the work. See the summary of the licence terms or the full licence terms.

Inquiries about the licence and any use of this document should be emailed to copyright@dcceew.gov.au.

Cataloguing data

This publication (and any material sourced from it) should be attributed as: ANZG (2025) Toxicant default guideline values for aquatic ecosystem protection: Nitrate in freshwater, Australian and New Zealand Guidelines for Fresh and Marine Water Quality, CC BY 4.0, Australian and New Zealand governments and Australian state and territory governments, Canberra, ACT, Australia.

This publication is available at waterquality.gov.au/anz-guidelines/guideline-values/default/water-quality-toxicants/toxicants.

Contact

Australian Government Department of Climate Change, Energy, the Environment and Water

GPO Box 858 Canberra ACT 2601

General enquiries: 1800 920 528

Email waterquality@dcceew.gov.au

Disclaimer

The author(s) of this publication, all other entities associated with funding this publication or preparing and compiling this publication, and the publisher of this publication, and their employees and advisers, disclaim all liability, including liability for negligence and for any loss, damage, injury, expense or cost incurred by any person as a result of accessing, using or relying on any of the information or data in this publication to the maximum extent permitted by law.

Acknowledgements

These default guideline values (DGVs) were derived by Dr Graeme Batley, CSIRO Environment, Lucas Heights, NSW. Early drafts were prepared by Dr Chris Hickey and Samira van Hunen, National Institute of Water and Atmospheric Research (NIWA), Hamilton, New Zealand. The DGVs were peer reviewed by 2 anonymous reviewers and by 2 contracted technical advisors, Dr Rick van Dam and Dr Melanie Trenfield.

Contents

Summary	v

1	Introduction	1

2	Aquatic toxicology	2

2.1	Mechanism of toxicity	2

2.2	Toxicity	2

3	Factors affecting toxicity	3

4	Default guideline value derivation	4

4.1	Toxicity data used in derivation	4

4.2	Species sensitivity distribution	9

4.3	Default guideline values	9

4.4	Reliability classification	11

Glossary and acronyms	12

Appendix A: modality assessment for nitrate	13

Appendix B: assessment of appropriate hardness categories for nitrate toxicity data and default guideline values	16

Appendix C: full details of chronic toxicity data used to derive nitrate (freshwater) guideline values sorted into hardness ranges	19

Appendix D: relationships between hardness and other major ion variables for Australian and New Zealand freshwaters	22

References	25

Figures

Figure 1 Species sensitivity distributions (from Burrlioz) of chronic toxicity data for nitrate (NO3−-N) in freshwater. (a) Soft water (< 30 mg/L CaCO3), (b) moderately hard water (30–150 mg/L CaCO3) and (c) hard water (> 150 mg/L CaCO3)	9

Tables

Table 1 Summary of chronic toxicity data values for nitrate in freshwaters for 3 hardness ranges; values are reported to no more than 3 significant figures	7

Table 2 Toxicant default guideline values for nitrate in freshwater, with high reliability	10

Appendix Figures

Figure A1 Histogram of natural-log-transformed data for nitrate freshwater toxicity	14

Figure A2 Box plot of natural-log-transformed data for nitrate freshwater toxicity by taxonomic group		15

Figure B1 Frequency histogram of the available nitrate toxicity data for freshwater species based on water hardness	17

Figure B2 Box plot of available chronic toxicity data for nitrate at candidate hardness ranges; note that the 2 highest toxicity values of 1,600 mg/L and 1,700 mg/L are not shown on the plot. The range shown in yellow represents a combination of the data from the ranges coloured orange and grey.	17

Figure D1 Relationships for (a) hardness and electrical conductivity, (b) hardness and alkalinity and (c) hardness and chloride for freshwater in New Zealand (based on data from 1989 for 77 freshwater sites around New Zealand). Green and orange dashed lines separate the hardness ranges for the 3 hardness-related DGVs	23

Appendix Tables

Table B1 Descriptive statistics for nitrate chronic toxicity dataset for candidate hardness ranges	18

Table C1 Summary of chronic toxicity data that passed the screening and quality assurance processes and were used to derive default guideline values for nitrate in freshwaters for 3 hardness ranges	19

## Summary

Nitrate (NO3−) occurs naturally in the environment and is produced and consumed through the nitrogen cycle. It is also anthropogenically produced as a fertiliser for agricultural use in the form of nitrate salts, such as ammonium, sodium, potassium, calcium and magnesium nitrate. The major anthropogenic sources of nitrate to surface waters are agricultural and urban runoff, municipal and industrial wastewaters and groundwater inputs. Nitrate concentration is an important indicator of nutrient enrichment of surface waters from agricultural sources and an indicator of the overall health of an ecosystem. As such, it is an important component of the management of freshwaters, requiring robust guideline values to support environmental planning and management.

Since the freshwater nitrate default guideline values (DGVs) for toxicity were derived and published in 2000 (ANZECC and ARMCANZ 2000), errors in the derivation were identified and new data have become available. For the DGVs reported here, chronic toxicity data were available for 37 species from 8 taxonomic groups. These comprised 3 microalgae, one cnidarian, 2 bivalve molluscs, one gastropod mollusc, 3 insects, 9 crustaceans, 13 fish and 5 amphibians. In general, fish and invertebrates show wide ranges in sensitivity to nitrate, with reported negligible-to-low effect (e.g. ≤ EC25, NOEC; see ‘Glossary and acronyms’ for definitions) values of 1–700 mg/L NO3−-N (nitrate-nitrogen) and 1–350 mg/L NO3−-N, respectively. The most sensitive species are the gastropod Potamopyrgus antipodarum and the rainbow trout Oncorhynchus mykiss, both with negligible-effect values of approximately 1 mg/L NO3−-N. The toxicity of nitrate to freshwater species decreases as water hardness increases, although it remains unclear whether this effect is due to hardness alone or whether other major ion variables such as ionic strength, chloride or alkalinity also play a role.

Data for potassium nitrate were excluded from this derivation of the nitrate DGVs due to potential  toxicity introduced by potassium. Elevated potassium is not normally found in contaminated surface waters, and the toxicity of potassium nitrate is significantly higher than sodium nitrate to both fish and macroinvertebrates.

There were sufficient published chronic toxicity data available for use in DGV derivation, while the ANZECC and ARMCANZ (2000) derivation was based on acute data only.

Three sets of DGVs were derived across a range of water hardness, because the toxicity of nitrate depends on hardness, and there were data available for sufficient species at various water-hardness values. This is better than having a single set of DGVs across a very wide hardness range that would likely be under-protective for soft waters and over-protective for hard waters.

High reliability DGVs for nitrate in soft, moderately hard and hard freshwaters were derived based on chronic toxicity data for 14, 11 and 12 species belonging to 5, 5 and 6 taxonomic groups, respectively. The species sensitivity distributions (SSDs) were good fits to the toxicity data. The DGVs (as mg/L NO3−-N) for 99%, 95%, 90% and 80% species-protection levels are (respectively):

- soft waters (< 30 mg/L as CaCO3) – 0.64 mg/L, 1.1 mg/L, 1.5 mg/L and 2.3 mg/L

- moderately hard waters (30–150 mg/L as CaCO3) – 1.0 mg/L, 2.6 mg/L, 4.2 mg/L and 7.1 mg/L

- hard waters (> 150 mg/L as CaCO3) – 18 mg/L, 29 mg/L, 38 mg/L and 56 mg/L.

The 95% species-protection level DGVs for nitrate should be used when assessing ecosystems that are slightly to moderately disturbed. However, given the uncertainties associated with the key factors that affect nitrate toxicity, users should consider other major ion variables in their local waters to help determine the appropriateness of the relevant hardness-based nitrate DGV for their waters. These could include variables such as electrical conductivity, alkalinity and chloride concentration. Further information regarding this is provided in this technical brief. Finally, it must be emphasised that the DGVs protect aquatic ecosystems against the toxicity of nitrate. They do not necessarily protect aquatic ecosystems against the negative effects of eutrophication that stem from the stimulatory effects that nitrate can have on plant and algal growth.

## Introduction

Nitrate occurs naturally in the environment and is produced and consumed through the nitrogen cycle. Nitrate represents the final product in the process of nitrification, which converts ammonia to nitrite and then nitrate. As a result, nitrate tends to be present in aquatic ecosystems at higher concentrations than ammonia and nitrite under oxic conditions (Camargo et al. 2005). Under hypoxic conditions (e.g. in the hypolimnion or remnant pools during post-flow phases), the lack of oxygen will limit the rate of nitrification, and ammonia concentrations will tend to be higher than nitrate (Harris 2001; US EPA 2023b).

Nitrate is highly soluble in freshwater, and its speciation does not change with pH. Most (> 99.5%) nitrate is present in its ionic form (NO3−) (Richards et al. 2010). It is highly mobile, non-reactive and readily leaches from soil to groundwater, where it can discharge to environmentally sensitive surface waters (Adelana et al. 2020; Singh et al. 2022).

In addition to contaminated groundwater, major anthropogenic sources of nitrate to surface waters include runoff from agricultural and urban areas (from the use of fertilisers and production of animal waste), and discharges from municipal and industrial activities (including sewage effluent) (Camargo et al. 2005; Singh et al. 2022). Nitrate concentration is an important indicator of nutrient enrichment to surface waters from agricultural sources and an indicator of the overall health of an ecosystem. As such, it is an important component of the management of freshwaters, requiring robust guideline values to support environmental planning and management.

Besides being directly toxic, nitrate can affect aquatic ecosystems through its role as an essential nutrient for plants, where above-background concentrations and loads can cause excessive algal and plant growth (e.g. algal blooms). Concentrations of nitrate that result in this excessive growth are typically lower than those that are toxic to aquatic biota. Guideline values to protect aquatic ecosystems from the nutrient-related effects of nitrate may be derived by jurisdictions at catchment, basin or physiographic levels (see Australia’s inland waters or Jurisdictional information in ANZG 2018 for further information). The current document focuses on nitrate as a direct toxicant.

Concentrations of nitrate in relatively undisturbed Australian and New Zealand freshwater systems are typically < 0.1 mg/L as NO3−-N (ANZECC and ARMCANZ 2000; Whitehead et al. 2021). However, concentrations are higher in disturbed systems, particularly those associated with agricultural or urban development. For example, Whitehead et al. (2021) reported the median concentrations of nitrate (as NO3−-N) in New Zealand waterways for pastoral, urban and exotic forest areas to be 0.37 mg/L, 0.69 mg/L and 0.24 mg/L, respectively, while maximum concentrations were 13 mg/L, 5.1 mg/L and 0.96 mg/L, respectively.

The ANZECC and ARMCANZ (2000) DGVs for nitrate were found to be erroneous (Hickey 2002) and were subsequently withdrawn. As a result, a revised derivation was reported by Hickey and Martin (2009), with a subsequent update by Hickey (2013). The 95% species-protection guideline value for nitrate (as NO3−-N) was 2.4 mg/L, based on chronic toxicity derived by Hickey (2013). The guideline values reported by Hickey (2013) formed the basis for the standards legislated as part of New Zealand’s National Policy Statement for Freshwater Management 2014 (MfE 2014, 2015). However, these values were never formalised as DGVs for Australia. Since the Hickey (2013) report, additional data have been published on the chronic toxicity of nitrate to freshwater species. These have been incorporated into the DGVs reported here. Therefore, the updated DGVs for nitrate in freshwater reported here build upon and supersede the use of the guideline values derived by Hickey (2013).

It should be noted that all nitrate concentrations are reported in this document as nitrate-nitrogen (NO3−-N) rather than the nitrate ion (NO3−) that is the basis for guidance derived by some other jurisdictions (e.g. CCME 2012). This difference in reporting convention makes no difference to the toxic sensitivity. A nitrate-ion concentration can be converted to nitrate-nitrogen by multiplying by 0.23 (or nitrate-nitrogen converted to nitrate ion by multiplying by 4.43).

## Aquatic toxicology

### Mechanism of toxicity

The toxicity of nitrate to freshwater biota has been relatively well studied, despite nitrate being better known as a nutrient that can stimulate algal and plant growth than as a toxicant. However, the underlying mechanisms of toxicity are less well understood. Toxic effects in animals are likely due to the conversion of oxygen-carrying pigments (e.g. haemoglobin, hemocyanin) to forms that cannot carry oxygen (e.g. methemoglobin) and osmoregulatory effects due to the higher salinity associated with elevated nitrate levels (Camargo et al. 2005; CCME 2012). This toxic action is likely due to the reduction of nitrate to nitrite in the blood (Guillette and Edwards 2005) and a metabolic pathway involving production of nitric oxide (Hannas et al. 2010).

### Toxicity

Nitrate is less toxic than ammonia and nitrite, the other 2 forms of nitrogen involved in nitrification. This is primarily due to the lower permeability of the gills to nitrate, which reduces its uptake by organisms with gills (Camargo et al. 2005). The available data for chronic nitrate toxicity concentrations span more than 3 orders of magnitude, from 0.88 mg/L (31-day growth EC10) for the New Zealand mudsnail Potamopyrgus antipodarum (Hickey et al. 2016) to 1,700 mg/L (3-day cell yield EC10) for the green alga Oocystis solitaria (van Dam et al. 2022). In general, invertebrates and fish span a similarly wide range of sensitivities to chronic exposure of nitrate, with no-effect or low-effect concentrations ranging from < 5 mg/L to > 500 mg/L. The highest toxicities (lowest toxic concentrations) have been consistently reported for fish. However, this does not necessarily imply that fish are the most sensitive taxonomic group, as numerous fish species show low sensitivity to nitrate. There is enough overlap in the sensitivity of invertebrates to make it difficult to identify differences between groups. In a review of nitrate toxicity to aquatic organisms, Camargo et al. (2005) found that nitrate toxicity decreased with increasing body size (and water salinity). Nitrate toxicity data reported by Camargo et al. (2005) and Hickey et al. (2016) demonstrate acute-to-chronic ratios typically well above 10 (i.e. acute toxicity is much lower than chronic toxicity).

Long-term (126–146 days) chronic sensitivity studies of early life stages of lake trout (Salvelinus namaycush) and lake whitefish (Coregonus clupeaformis) yielded some of the lowest toxicity estimates (McGurk et al. 2006). Lake trout was the most sensitive species, with a NOEC of 1.6 mg/L and a LOEC of 6.25 mg/L for both growth and development endpoints. Growth showed a progressive concentration response, with a 12% reduction in wet weight at the LOEC and a 22% reduction at 25 mg/L. The delayed-development endpoint (based on the number of days taken for 90% or more of the alevins to reach the swim-up fry stage) had a comparable sensitivity.

Other highly sensitive fish species include rainbow trout (Oncorhynchus mykiss), chinook salmon (Oncorhynchus tshawytscha) and cutthroat trout (Oncorhynchus clarki) (Kincheloe et al. 1979). Kincheloe et al. (1979) measured mortality of eggs and fry of these species after a 30-day exposure period (post-first feed). The NOEC values (based on nominal concentrations) ranged from < 1.1 mg/L to 2.3 mg/L (these data are further discussed in section 4.1). However, a subsequent study by Nautilus Environmental (2011a) on nitrate toxicity (and the influence of water hardness – see section 3) to O. mykiss (7-day embryo-larval tests) was unable to reproduce the same high sensitivity.

High sensitivity has also been reported for several invertebrate species, particularly from New Zealand. As noted above, the New Zealand mudsnail (P. antipodarum) exhibited 10% effects for a range of endpoints (i.e. growth, morbidity, mortality) after exposure for 30–40 days to concentrations of around 1–3 mg/L (Hickey et al. 2016). The New Zealand freshwater crayfish Paranephrops planifrons was similarly sensitive, with a 60-day EC10 of just over 2 mg/L for growth (Hickey et al. 2016). Both species were tested at low hardness (< 15 mg/L CaCO3) and relatively high pH (7.8–8.2). The tropical cladoceran Ceriodaphnia silvestrii was also sensitive to nitrate exposure, with significant effects on reproduction after 7 days’ exposure to 2.2 mg/L (Sueitt et al. 2015).

Very few nitrate toxicity data exist for freshwater plants, presumably because nitrate is considered more a beneficial nutrient for plants than a toxicant. Of the limited data available, the results are quite divergent. The EC50 (14-day growth rate) for the charophyte Chara globularis (14-day growth), was 5.6 mg/L (Lambert and Davy 2010). In contrast, the EC50 (3-day cell yield) for the green alga Raphidocelis subcapitata (formerly Pseudokirchneriella subcapitata) was 470 mg/L (Nautilus Environmental 2011b), while EC50 values (3-day cell yield) for the green algae Chlorella sp. and O. solitaria were both > 1,600 mg/L (van Dam et al. 2022). The high sensitivity of C. globularis to nitrate in the laboratory was consistent with field and mesocosm studies, which have shown effects on charophytes above concentrations of 1–2 mg/L (Barker et al. 2008, Lambert and Davy 2010).

The acute toxicity of nitrate has been reviewed elsewhere (CCME 2012) and is not discussed here given that the DGVs reported in this document relate to chronic exposure.

## Factors affecting toxicity

Factors affecting the toxicity of nitrate have been reviewed in detail by van Dam et al. (2022). Water hardness has been identified as a key modifier of both acute and chronic nitrate toxicity (CCME 2012; Baker et al. 2017; van Dam et al. 2022). Effects are species-dependent, with chronic toxicity for some species being reduced up to 4-fold across the range of 12–90 mg/L CaCO3 (Baker et al. 2017). A hardness-related response was also found for chronic growth in juvenile inanga (or common jollytail, Galaxias maculatus) but not for acute exposures (Hickey et al. 2013). In a study of rainbow trout, the IC10 of 95 mg/L for the most sensitive endpoint (growth [weight]) increased to 335 mg/L when hardness increased from 10 mg/L to 176 mg/L CaCO3 (Nautilus Environmental 2011a). It is important to note that all the published studies on the effect of hardness on nitrate toxicity are confounded by the presence of several other ions at elevated concentrations (e.g. bicarbonate, chloride), so it is not possible to fully discern which variable was the main toxicity modifier. Nevertheless, as hardness is often correlated with other major ion variables, any ameliorative effects associated with one or more of them would likely be captured by focusing on hardness as the critical variable (van Dam et al. 2022). Regardless, further studies to characterise the effects of true hardness (i.e. calcium and magnesium) and other factors on nitrate toxicity are desirable.

Rescan (2012) used the data from Nautilus Environmental (2011b) (which was subsequently published by Baker et al. 2017) on the effect of hardness on nitrate toxicity to 4 species to develop an algorithm that could be used to adjust a nitrate site-specific guideline value for a diamond mine in Canada based on water hardness (up to ~160 mg/L CaCO3). van Dam et al. (2022) considered using the algorithm for site-specific guideline values for nitrate associated with iron-ore mine discharges in the Pilbara region of north-western Australia. However, they concluded that the algorithm had too many limitations to be adopted, including the fact that it was not published in the peer-reviewed literature and has not been validated for Australian species and water-quality conditions. For the reasons detailed by van Dam et al. (2022), the Rescan (2012) hardness algorithm was also not adopted for the current derivation of DGVs.

Chloride has also been shown to modify nitrate toxicity, although not to the extent that it is known to modify nitrite toxicity (Harris and Coley 1991; Jensen 1996; Camargo and Alonso 2006). Chloride reduced chronic toxicity of nitrate to Hyalella azteca, depending on the endpoint measured (Soucek and Dickinson 2016), while the effect of chloride was less clear for the cladoceran Ceriodaphnia dubia. Soucek and Dickinson (2016) concluded that chloride-dependent nitrate sensitivity is not universal among freshwater crustaceans and is not as strong as the effect of hardness. Moreover, van Dam et al. (2022) suggested that any effect of chloride on nitrate toxicity might be integrated in effects associated with hardness or ionic strength. However, more research is required on the effects of chloride on nitrate toxicity to freshwater species to understand its importance relative to hardness and if it needs to be incorporated as a factor that modifies nitrate toxicity.

van Dam et al. (2022) found no strong evidence that other physicochemical variables, such as pH, temperature and dissolved oxygen, modified nitrate toxicity. While no significant effects of temperature were seen, increased toxicity was seen in one instance at low pH (pH 4) and low oxygen, but whether these were co-stressor effects was not determined. Effectively, physicochemical variables may primarily act as additional stressors alongside nitrate, rather than by directly affecting nitrate toxicity (van Dam et al. 2022).

As noted above, a hardness correction for the nitrate DGVs was not included in the current derivation. However, there were sufficient chronic toxicity data for nitrate across a range of hardness to partition the data and derive DGVs for 3 different hardness categories. The details are provided in section 4.1. Although further understanding of factors that modify toxicity and their mechanisms is required, particularly for hardness and chloride, the derivation of nitrate toxicity DGVs for 3 different hardness categories represents a significant improvement from the ANZECC and ARMCANZ (2000) DGVs.

## Default guideline value derivation

### Toxicity data used in derivation

The DGVs were derived in accordance with the method described in Warne et al. (2018) using Burrlioz 2.0 software.

Nitrate chronic toxicity data were obtained from the scientific literature by conducting searches using the US EPA ECOTOX database (US EPA 2023a), the Australasian Ecotoxicology Database (Markich et al. 2002; Langdon et al. 2009) and the Google Scholar search engine. A recent literature review of post-2016 nitrate toxicity data conducted by van Dam et al. (2022) was also used to support the literature search. Data from tests using potassium nitrate were omitted from the dataset due to the possibility that potassium, which is known to have a relatively high toxicity as a major ion (Mount et al. 1997), was contributing to toxicity.

In total, chronic toxicity data were available for 37 species from 8 taxonomic groups. These comprised 3 microalgae, one cnidarian, 2 bivalve molluscs, one gastropod mollusc, 3 insects, 9 crustaceans, 13 fish and 5 amphibians. All data passed the quality-assessment process prescribed by Warne et al. (2018), although not all subsequently passed the data-screening process (see below). All toxicity data were generated from laboratory-based single-species toxicity tests.

In selecting the final dataset, preference was given to EC/IC10 values over EC/IC20 values over NOEC values. NOEC values were considered for species for which there were no EC/IC10 or EC/IC20 data available or based on professional judgement that the NOEC represented a more appropriate negligible-effect concentration than an available EC/IC10 or EC/IC20. EC/IC25, EC/IC50 and LOEC values were not included in the dataset. There were 32 species for which EC/IC10, EC/IC20 or NOEC values were available. A modality assessment for this dataset based on a single value per species (as selected according to Warne et al. (2018) [Appendix A]) concluded that the toxicity of nitrate to freshwater species exhibits a unimodal relationship (excluding any effect of hardness) and, therefore, the full dataset could be considered for the derivation of the DGVs.

All but 6 studies in the available dataset reported hardness concentrations (i.e. for the species Bufo americanus, Gammarus pseudolimnaeus, Astacus astacus, Sander lucioperca, Macrobrachium rosenbergii and Pomacea paludosa). Given that the final dataset was split based on different water-hardness categories, toxicity values for which the accompanying hardness was not reported were not used in the derivation of the DGVs.

A NOEC of ≥ 1,600 mg/L for Chlorella was used in the derivation. This met the criteria for inclusion specified by Warne et al. (2018) that (i) the value was not too far outside the existing data range or (ii) did not have an overly large influence on the final DGVs. For the amphibian Rana aurora, a 16-day LOEC of ≤ 29.1 mg/L for length was reported. However, this value was difficult to justify for inclusion in the derivation, because the effect size at this concentration was only 3% and there was no subsequent reduction in length for the following 4 test concentrations (i.e. up to 472 mg/L). Instead, a NOEC of 117 mg/L for weight, which represented a 10% effect size, was used in the final dataset. For the amphibian Pseudacris regilla, the lowest available value was a 10-day LOEC of ≤ 30 mg/L (i.e. effect at lowest tested concentration) based on tadpole wet weight (Schuytema and Nebeker 1999a). However, the corresponding LOEC for tadpole length was over 8 times higher (259 mg/L). Therefore, given that wet weight is known to be a potentially unreliable indicator of growth, the wet-weight LOEC was not used. Instead, the next lowest value, a 10-day NOEC of 56.7 mg/L for embryos (Schuytema and Nebeker 1999b), was selected for this species.

Sueitt et al. (2015) reported nitrate chronic toxicity data for the cladoceran C. silvestrii and the midge Chironomus xanthus from which IC10 data could be calculated. However, the tests used calcium nitrate rather than sodium nitrate, resulting in hardness increasing with increasing nitrate concentration. Consequently, the data for these 2 species were not used.

Egg sensitivity data reported for 4 fish species (Oncorhynchus kisutch, O. mykiss, O. tshawytscha and O. clarki) by Kincheloe et al. (1979) were compromised by mortalities associated with Saprolegnia fungal infestations and so were not included for consideration. However, there was no indication that the accompanying fry-survival data were also compromised by fungal infestation, with good control survival (> 95%) for all species and a partial concentration response observed for 3 species. Although neither the stock solutions nor the exposure solution concentrations were analytically confirmed in this study, the data were included in the dataset due to the apparent sensitivity of at least 3 of these fish species. A NOEC value of ≥ 4.5 mg/L for O. kisutch (Hickey et al. 2013) was not used in the final dataset because it is a ‘>’ value and is at the very sensitive end of the SSD. Although its inclusion made little difference to the DGVs (data not shown), it was more defensible to exclude than include this value.

Where studies for individual species have demonstrated a significant dependence of toxicity on a physicochemical variable, as is the case for nitrate toxicity and hardness, Warne et al. (2018) recommend selecting the toxicity data for the species that correspond to the most toxic set of conditions (i.e. typically the lowest hardness). Doing so results in DGVs that are appropriate for more toxic conditions (i.e. lower hardness) and potentially over-conservative for less toxic conditions (i.e. higher hardness). The nitrate chronic toxicity dataset included data across a hardness range of approximately 6–380 mg/L CaCO3. Given the relatively large number of species for which suitable data were available, the ability to partition the data across, and derive DGVs for, several hardness categories were explored (see Appendix B). This assessment concluded that the data could be partitioned according to the following 3 hardness ranges based on the hardness values reported for the studies:

- reported values of 6–28 mg/L CaCO3 represent a ‘soft’ water category of < 30 mg/L CaCO3

- reported values of 39–125 mg/L CaCO3 represent a ‘moderately hard’ water category of 30–150 mg/L CaCO3

- reported values of 156–380 mg/L CaCO3 represent a ‘hard’ water category of > 150 mg/L CaCO3.

Each of these categories had a sufficient sample size (i.e. > 10 species) to enable robust DGVs to be derived. The dataset was not further screened for other toxicity-modifying factors such as chloride, primarily because of a lack of data and evidence of strong ameliorative effects on nitrate toxicity.

The final datasets for each of the 3 hardness categories comprised the following data (

Table 1):

- Soft water (< 30 mg/L CaCO3) – 14 species from 5 taxonomic groups, comprising 8 fish, 2 molluscs (one gastropod and one bivalve), 2 amphibians, one arthropod and one microalga. The dataset comprised 5 EC/IC10 , one LC10 and 8 NOEC values.

- Moderately hard water (30–150 mg/L CaCO3) – 11 species from 5 taxonomic groups, comprising one amphibian, 5 fish, 2 insects, 2 crustaceans (one cladoceran and one amphipod) and 1 bivalve mollusc. The dataset comprised of 6 EC/IC10, 2 EC20 and 3 NOEC values.

- Hard water (> 150 mg/L CaCO3) – 12 species from 6 taxonomic groups, comprising 3 fish, 4 crustaceans (3 cladocerans and one amphipod), one insect, 2 microalgae, one amphibian and one cnidarian. The dataset comprised 8 EC/IC10, one EC20 and 3 NOEC values.

Twelve of the 28 species represented across the 3 datasets are known to occur in Australasian temperate or tropical freshwaters (

Table 1). Appendix C presents further details on the data that passed the quality assessment and screening process and were used to derive the DGVs. Details of the data-quality assessment and the data that passed the quality assessment are provided as supporting information.

Table 1 Summary of chronic toxicity data values for nitrate in freshwaters for 3 hardness ranges; values are reported to no more than 3 significant figures

| Taxonomic group | Species (common name) | Life stage | Duration (days) | Toxicity measure (test endpoint) | Reported toxicity value (mg/L NO3−-N) | Final toxicity value (mg/L NO3−-N) |
| --- | --- | --- | --- | --- | --- | --- |
| Soft water (< 30 mg/L CaCO3) |  |  |  |  |  |  |
| Microalga | Raphidocelis subcapitata (green alga) | Exponential growth | 3 | IC10 (growth) | 247 | 247 |
| Mollusc (bivalve) | Sphaerium novaezelandiae (fingernail clam)a | Juvenile | 60 | LC10 (mortality) | 8.6 | 8.6 |
| Mollusc (gastropod) | Potamopyrgus antipodarum (New Zealand mudsnail)a | Juvenile | 40 | EC10 (growth – length) | 0.88, 2.3 | 1.4b |
| Crustacean | Paranephrops planifrons (Koura, freshwater crayfish)a | Juvenile | 60 | EC10 (growth – length) | 2.2 | 2.2 |
| Fish | Coregonus clupeaformis (lake whitefish) | Embryo, alevin, fry | 126 | NOEC (development) | 6.3 | 6.3 |
| Fish | Galaxias maculatus (inanga [NZ]; common jollytail [Australia])a | Juvenile | 40 | EC10 (mortality | 2.0 | 2.0 |
| Fish | Gobiomorphus cotidianus (common bully)a | Juvenile | 21 | EC10 (growth – weight) | 22.5 | 22.5 |
| Fish | Oncorhynchus mykiss (rainbow trout)a | Fry | 30 | NOEC (mortality | 1.1, ≥ 4.5 | 2.2b |
| Fish | Oncorhynchus tshawytscha (chinook salmon) | Fry | 30 | NOEC (mortality) | 2.3 | 2.3 |
| Fish | Pimephales promelas (fathead minnow) | Embryo, larvae | 7 | IC10 (growth – weight) | 52 | 52 |
| Fish | Salmo clarki (Lahontan cutthroat) | Fry | 30 | NOEC (mortality) | 4.5 | 4.5 |
| Fish | Salvelinus namaycush (lake trout) | Embryo, alevin, fry | 146 | NOEC (growth – weight) | 1.6 | 1.6 |
| Amphibian | Rana aurora (Pacific treefrog) | Embryo, larvae | 16 | NOEC (growth – weight) | 117 | 117 |
| Amphibian | Xenopus laevis (African clawed frog) | Tadpole | 10 | NOEC (growth – weight) | 24.8 | 24.8 |
| Moderately hard water (30–150 mg/L CaCO3) |  |  |  |  |  |  |
| Mollusc (bivalve) | Lampsilis siliquoidea (fatmucket clam) | Juvenile | 28 | EC20 (weight) | 17 | 17 |
| Insect | Chironomus dilutus (midge) | Larvae | 10 | IC10 (growth – weight) | 5.8 | 5.8 |
| Insect | Deleatidium sp. (mayfly)a | Larvae | 20 | NOEC (mortality) | 20.3 | 20.3 |
| Crustacean | Ceriodaphnia dubia (cladoceran)a | Neonates | 7 | IC10 (reproduction) | 1.94 | 19.4 |
| Crustacean | Hyalella azteca (amphipod) | Juvenile | 42 | EC20 (growth – weight) | 11 | 11 |
| Fish | Danio rerio (zebrafish) | Juvenile | 29 | NOEC (mortality and growth – weight) | 200 | 200 |
| Fish | Galaxias maculatus (inanga [NZ]; common jollytail [Australia])a | Juvenile | 40 | LC10 (mortality) | 26.6 | 26.6 |
| Fish | Gobiomorphus cotidianus (common bully)a | Juvenile | 21 | LC10 (mortality) | 24.9 | 24.9 |
| Fish | Oncorhynchus mykiss (rainbow trout)a | Fry | 42 | EC10 (yolk development) | 120 | 120 |
| Fish | Pimephales promelas (fathead minnow) | Embryo, larvae | 7 | IC10 (growth – weight) | 6.6 | 6.6 |
| Amphibian | Pseudacris regilla (Pacific treefrog) | Embryo | 10 | NOEC (length) | 56.7 | 56.7 |
| Hard water (> 150 mg/L CaCO3) |  |  |  |  |  |  |
| Microalga | Chlorella sp. (green alga)a | Exponential growth | 3 | NOEC (growth) | ≥ 1,600 | 1,600 |
| Microalga | Oocystis solitaria (green alga)a | Exponential growth | 3 | IC10 (growth) | 1,700 | 1,700 |
| Cnidarian | Hydra viridissima (green hydra)a | Adult | 4 | IC10 (population growth) | 220 | 220 |
| Insect | Chironomus dilutus (midge) | Larvae | 10 | IC10 (growth – weight) | 120 | 120 |
| Crustacean | Ceriodaphnia dubia (cladoceran)a | Neonates | 7 | IC10 (reproduction) | 28.5 | 28.5 |
| Crustacean | Daphnia magna (cladoceran) | Neonates | 7 | NOEC (reproduction) | 358 | 358 |
| Crustacean | Hyalella azteca (amphipod) | Juvenile | 14 | IC10 (growth – weight) | 102 | 102 |
| Crustacean | Simocephalus heilongjiangensis (cladoceran)a | Neonates | 13 | IC10 (3-brood reproduction) | 45 | 45 |
| Fish | Notropis topeka (Topeka shiner) | Juvenile | 30 | NOEC (growth) | 268 | 268 |
| Fish | Oncorhynchus mykiss (rainbow trout)a | Fry | 42 | IC10 (growth) | 335 | 335 |
| Fish | Pimephales promelas (fathead minnow) | Embryo, larvae | 32 | EC10 (growth – weight) | 46.7 | 46.7 |
| Amphibian | Hyla versicolor (gray treefrog) | Juvenile | 52 | EC20 (metamorphosis) | 47 | 47 |

a Species known to occur in Australasian temperate or tropical freshwaters.

b Geometric mean.

### Species sensitivity distribution

b

c

Figure 1 shows the cumulative frequency (species sensitivity) distributions for nitrate toxicity values for the 3 hardness categories reported in

Table 1. All 3 models provide a good fit to the data (

b

c

Figure 1).

a

b

c

Figure 1 Species sensitivity distributions (from Burrlioz) of chronic toxicity data for nitrate (NO3−-N) in freshwater. (a) Soft water (< 30 mg/L CaCO3), (b) moderately hard water (30–150 mg/L CaCO3) and (c) hard water (> 150 mg/L CaCO3)

### Default guideline values

It is important that the DGVs and associated information in this technical brief are used in accordance with the detailed guidance provided in the Australian and New Zealand Guidelines for Fresh and Marine Water Quality (ANZG 2018).

Table 2 shows the DGVs for nitrate toxicity in freshwater for each of the 3 hardness categories. The DGVs relate to dissolved nitrate, operationally defined as the < 0.45 µm-filtered measurement. The 95% species-protection DGVs are recommended for assessing ecosystems that are slightly to moderately disturbed.

Table 2 Toxicant default guideline values for nitrate in freshwater, with high reliability

|  | DGV for nitrate in freshwater (mg/L NO3−-N)a,b |  |  |
| --- | --- | --- | --- |
| Level of species protection (%) | Soft water (< 30 mg/L CaCO3) | Moderately hard water (30–150 mg/L CaCO3) | Hard water (> 150 mg/L CaCO3) |
| 99 | 0.64 | 1.0 | 18 |
| 95 | 1.1 | 2.6 | 29 |
| 90 | 1.5 | 4.2 | 38 |
| 80 | 2.3 | 7.1 | 56 |

a The DGVs were derived using the Burrlioz 2.0 software and rounded to 2 significant figures.

b The DGVs are expressed as nitrate-nitrogen (NO3−-N). They can be converted to the nitrate ion (NO3−) by multiplying by 4.43.

As noted in section 3, it is not clear whether the reported effects of hardness on nitrate toxicity are due to water hardness alone or if they represent an effect associated with ionic strength, chloride or alkalinity (or a combination of these). Consequently, the DGVs are based on the assumption that hardness and these other variables are closely correlated. This was assessed for New Zealand freshwaters, as described in Appendix D. No such analysis could be undertaken for Australian freshwaters. For the New Zealand data, the relationships between hardness and ionic strength or alkalinity were good, while the relationship between hardness and chloride was poor. This means that if chloride modifies nitrate toxicity more than hardness, the high-hardness DGVs might be under-protective in waters with high hardness but low chloride concentrations. However, given the apparent lack of high-hardness/high-chloride freshwaters in New Zealand (see Appendix D), the high-hardness DGVs for nitrate could potentially not be used for New Zealand freshwaters to minimise the risk of applying under-protective DGVs. In such cases, the intermediate DGV of 2.6 mg/L could be applied to high-hardness/low-chloride waters. Otherwise, the hardness-based DGVs appear to be generally applicable to many New Zealand water types, as described in Appendix D.

The characterisation of water hardness to inform the selection of the appropriate nitrate DGV should be based on hardness data from (i) the edge of an agreed mixing zone downstream of the source of nitrate (assuming this location has factored in any requirement to also meet hardness GVs) or, if this is not possible, (ii) upstream of the discharge or source of nitrate. Approach (i) is preferred because it should sufficiently capture situations where bioavailability at the edge of an agreed mixing zone (associated with either point or diffuse sources of nitrate) is either lower or higher than upstream. In cases, where there are no contemporary hardness data, historic data may be able to be used to estimate the hardness; however, where there are no available hardness data, the soft water nitrate DGVs should be applied until hardness data can be obtained. Additional to this advice, readers should refer to the latest guidance on accounting for bioavailability in ANZG (2018 – Accounting for local conditions).

Further research on the key factors that modify nitrate toxicity (e.g. hardness, chloride, alkalinity) would be informative and might enable further refinement of the DGVs. Until such knowledge exists, the following guidance should be followed for both Australia and New Zealand.

- Where the relationship between hardness and these other variables is good, the DGVs in Table 2 can be used.

- Where the relationship between hardness and one or more of these other variables is poor, the selection of the appropriate DGV should err on the side of caution to ensure protection of the aquatic ecosystem (i.e. adopt a conservative DGV relative to the water hardness), or site-specific guideline values should be derived.

Finally, it must be emphasised that the DGVs do not necessarily protect aquatic ecosystems against the negative effects of eutrophication that stem from the stimulatory effects that nitrate can have on plant and algal growth. Guideline values to protect against excessive plant and algal growth may be derived by jurisdictions at catchment, basin or physiographic levels (see Australia’s inland waters or Jurisdictional information in ANZG 2018 for further information).

### Reliability classification

The DGVs for nitrate in freshwater for each of the 3 hardness categories have a high reliability classification (Warne et al. 2018) based on the outcomes for the following 3 criteria for each hardness dataset.

- soft water (< 30 mg/L CaCO3)

  - sample size – 14 (good)

  - type of toxicity data – chronic EC10, IC10, NOEC

  - SSD model fit – good (inverse Weibull)

- moderately hard water (30–150 mg/L CaCO3)

  - sample size – 11 (good)

  - type of toxicity data – chronic EC10, IC10, EC20, NOEC

  - SSD model fit – good (Burr Type III)

- hard water (> 150 mg/L CaCO3)

  - sample size – 12 (good)

  - type of toxicity data – chronic EC10, IC10, EC20, NOEC

  - SSD model fit – good (inverse Weibull).

## Glossary and acronyms

| Term | Definition |
| --- | --- |
| Acute toxicity | A lethal or adverse sub-lethal effect that occurs as the result of a short (relative to the organism’s life span) exposure to a chemical. Refer to Warne et al. (2018) for examples of acute exposures. |
| Acute-to-chronic ratio | The species’ mean acute value (LC50/EC50) divided by the chronic value (NOEC) for the same species. |
| Chronic toxicity | A lethal or sub-lethal adverse effect that occurs after exposure to a chemical for a period of time that is a substantial portion of the organism’s life span or an adverse sub-lethal effect on a sensitive early life stage. Refer to Warne et al. (2018) for examples of chronic exposures. |
| Default guideline value (DGV) | A guideline value recommended for generic application in the absence of a more specific guideline value (e.g. a site-specific value) in the Australian and New Zealand Guidelines for Fresh and Marine Water Quality. Formerly known as ‘trigger values’. |
| ECx | The concentration of a substance in water or sediment that is estimated to produce an x% change in the response being measured or a certain effect in x% of the test organisms, under specified conditions. |
| Endpoint | The specific response of an organism that is measured in a toxicity test (e.g. mortality, growth, reproduction, a particular biomarker). |
| Guideline value | A measurable quantity (e.g. concentration) or condition of an indicator for a specific community value below which (or above which, in the case of stressors such as pH, dissolved oxygen and many biodiversity responses) there is considered a low risk of unacceptable effects occurring to that community value. Guideline values for more than one indicator should be used simultaneously in a multiple lines of evidence approach. |
| Hypolimnion | The lower layer of water in a stratified waterbody, typically cooler than the water above and relatively stagnant. |
| ICx | The concentration of a substance in water or sediment that is estimated to produce an x% inhibition of the response being measured in test organisms relative to the control response, under specified conditions. |
| LCx | The concentration of a substance in water or sediment that is estimated to be lethal to x% of a group of test organisms relative to the control response, under specified conditions. |
| LOEC (lowest-observed-effect concentration) | The lowest concentration of a chemical used in a toxicity test that has a statistically significant (p ≤ 0.05) adverse effect on the exposed population of test organisms as compared with the controls. All higher concentrations should also cause statistically significant effects. |
| NEC (no-effect concentration) | The maximum concentration of a toxicant that causes no adverse effect in a target organism. |
| NO3−-N (nitrate-nitrogen) | The nitrogen portion of the total nitrate in a sample. |
| NOEC (no-observed-effect concentration) | The highest concentration of a toxicant used in a toxicity test that does not have a statistically significant (p > 0.05) effect on the exposed population of test animals as compared to the controls. The statistical significance is measured at the 95% confidence level. |
| Species sensitivity distribution (SSD) | A method that plots the cumulative frequency of species’ sensitivities to a toxicant and fits a statistical distribution to the data. From the distribution, the concentration that should theoretically protect a selected percentage of species can be determined. |
| Toxicity | The inherent potential or capacity of a material to cause adverse effects in a living organism. |
| Toxicity test | The means by which the toxicity of a chemical or other test material is determined. A toxicity test is used to measure the degree of response produced by exposure to a specific level of stimulus (or concentration of chemical) for a specified test period. |

## Appendix A: modality assessment for nitrate

A modality assessment was undertaken for nitrate toxicity to freshwater biota according to the 4 questions stipulated in Warne et al (2018), as follows.

- Is there a specific mode of action that could result in taxa-specific sensitivity?

As discussed in section 2.1, nitrate has numerous potential mechanisms of toxicity, including the stimulation of reactive oxygen species, that are applicable to a range of taxonomic groups. Although there may be a mechanism of toxicity specific to plants and algae, there is otherwise little evidence to suggest that the toxicity of nitrate would target one taxonomic group more than another.

- Does the dataset suggest bimodality?

Visual representation of the data, calculation of the bimodality coefficient (BC), and consideration of the range in the effect concentrations are recommended lines of evidence for evaluating whether bimodality or multimodality of the dataset is apparent. For the nitrate dataset:

The histogram of the natural-log-transformed toxicity data (Figure A1) appears to be right-skewed but does not suggest a bimodal distribution, although the small sample size hinders the ability to make a definitive conclusion.

Datasets that span large ranges (i.e. > 4 orders of magnitude) indicate potential for underlying bimodality or multimodality (Warne et al. 2018). The nitrate dataset spans < 3 orders of magnitude.

When the BC is > 0.555, it indicates that the data do not follow a typical normal distribution and may be bimodal. The BC for the log-transformed data is 0.439, which does not support a conclusion of bimodality.

Based on the lines of evidence described above, the distribution of the log-transformed dataset is likely to be unimodal.

Figure A1 Histogram of natural-log-transformed data for nitrate freshwater toxicity

- Do data show taxa-specific sensitivity (i.e. through distinct groupings of different taxa types)?

Figure A2 suggests that there is no single taxonomic group that is the most sensitive to nitrate. The sample sizes for most of the taxonomic groups are very small (n = 1–3), making it difficult to draw any strong conclusions, except that microalgae are likely to be less sensitive than most other species. This is not an unexpected observation.

Figure A2 Box plot of natural-log-transformed data for nitrate freshwater toxicity by taxonomic group

- Is it likely that indications of bimodality or multimodality or distinct clustering of taxa groups are not due to artefacts of data selection, small sample size, test procedures or other reasons unrelated to a specific mode of action?

Overall, sample sizes are small and hamper the ability to make definitive conclusions. However, none of the factors assessed (mode of action, indications of bimodality of dataset, taxa-specific sensitivity), provided strong evidence of bimodality. Based on the available evidence, the dataset is unimodal, which supports the use of the full dataset identified in the preparation of the DGV derivation.

## Appendix B: assessment of appropriate hardness categories for nitrate toxicity data and default guideline values

The nitrate freshwater toxicity dataset was assessed to determine if it could be split into multiple water-hardness categories and, if so, the appropriate number of categories. The following 2 key criteria were applied when considering the appropriate hardness categories.

- There are apparent differences in nitrate toxicity between the categories.

- The number of species and taxonomic groups represented in each category exceed the minimum requirements and enable the derivation of robust DGVs that minimise the additional uncertainty associated with the use of smaller datasets. Thus, a preferred default requirement was set of at least 10 species from at least 4 taxonomic groups for each category.

The chronic toxicity dataset that was assessed included IC/LC10, IC/LC20 and NOEC values and excluded LOEC, IC25 and LC50 values as well as values for which the corresponding water hardness was not reported. The available dataset comprised 149 toxicity values across 35 hardness levels (ranging from 6 to 376 mg/L CaCO3) for 28 species from 8 taxonomic groups. For 9 of the 28 species, toxicity values were available for at least 2 different hardness levels. Where hardness values associated with a single toxicity value were reported as a range (e.g. 107–140 mg/L CaCO3), the mid-point of the 2 values was used.

Figure B1 shows the spread of the data across the entire hardness range. Based on the spread, 4 hardness ranges were initially assessed: 0–28 mg/L, 39–58 mg/L, 75–125 mg/L and 156–380 mg/L CaCO3. Figure B2 presents a box plot of the data for these 4 ranges along with the range of 39–125 mg/L, which is a combination of the 2 mid-range categories. Table B1 presents the key descriptive statistics. There is a general trend of decreasing toxicity with increasing hardness. However, there is no apparent difference between the 39–58 mg/L and 75–125 mg/L CaCO3 hardness ranges. Moreover, data were available for fewer than 10 species for each of these ranges. Therefore, another assessment was performed that combined the 2 middle ranges, resulting in just 3 hardness ranges (i.e. 6–28 mg/L, 39–125 mg/L and 156–380 mg/L CaCO3). The use of these 3 ranges met both of the key criteria above, in that there were apparent differences in toxicity between the ranges, and there were data available for more than 10 species (for at least 4 taxonomic groups) for each range (Figure B2 and Table B1). Thus, DGVs for nitrate toxicity were derived for each of these 3 hardness ranges, which were slightly rounded to form the following 3 hardness categories: < 30 mg/L CaCO3 (i.e. soft water), 30–150 mg/L CaCO3 (i.e. moderately hard water) and > 150mg/L CaCO3 (i.e. hard water).

Figure B1 Frequency histogram of the available nitrate toxicity data for freshwater species based on water hardness

Figure B2 Box plot of available chronic toxicity data for nitrate at candidate hardness ranges; note that the 2 highest toxicity values of 1,600 mg/L and 1,700 mg/L are not shown on the plot. The range shown in yellow represents a combination of the data from the ranges coloured orange and grey.

Table B1 Descriptive statistics for nitrate chronic toxicity dataset for candidate hardness ranges

| Parameter | Hardness range (mg/L CaCO3) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 6–28a | 39–58 | 75–125 | 39–125a | 156–380a |
| Sample size | 45 | 32 | 34 | 66 | 38 |
| 10th percentile nitrate toxicity value (mg/L NO3−-N) | 2.1 | 10 | 15 | 11 | 24 |
| Median nitrate toxicity value (mg/L NO3−-N) | 15 | 70 | 56 | 56 | 160 |
| 90th percentile nitrate toxicity value (mg/L NO3−-N) | 114 | 389 | 231 | 380 | 431 |
| Number of species | 14 | 9 | 8 | 11 | 12 |
| Number of taxonomic groups | 5 | 4 | 5 | 5 | 6 |

a Shaded columns represent the final hardness ranges for which DGVs were derived. These ranges were used to represent hardness categories of < 30 mg/L CaCO3, 30–150 mg/L CaCO3 and > 150 mg/L CaCO3, respectively.

## Appendix C: full details of chronic toxicity data used to derive nitrate (freshwater) guideline values sorted into hardness ranges

Table C1 Summary of chronic toxicity data that passed the screening and quality assurance processes and were used to derive default guideline values for nitrate in freshwaters for 3 hardness ranges

| Taxonomic group (phylum or clade) | Species | Life stage | Exposure duration (days) | Toxicity measure | Endpoint | Test medium | Temperature (°C) | Hardness (mg/L CaCO3) | Chloride (mg/L) | pH | Toxicity value (mg/L NO3−-N) | Final concentration (mg/L NO3−-N)a | Reference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hardness < 30 mg/L CaCO3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chlorophyta (microalga) | Raphidocelis subcapitata | Exponential growth | 3 | IC10 | Growth | Reconstituted water | 24 | ~10 | NR | 6.9–7.5 | 247 | 247 | Nautilus Environmental 2011b |
| Mollusca (bivalve mollusc) | Sphaerium novaezelandiae | Juvenile | 60 | LC10 | Mortality | Spring water | 20 | 14 | 6.5 | 7.8–8.2 | 8.6 | 8.6 | Hickey et al. 2016 |
| Mollusca (gastropod mollusc) | Potamopyrgus antipodarum | Juvenile | 31 | EC10 | Growth (length) | Spring water | 20 | 11 | 6.5 | 7.8–8.2 | 0.88 | 0.88 | Hickey et al. 2016 |
|  |  | Juvenile | 31 | EC10 | Growth (length) | Spring water | 20 | 11 | 6.5 | 7.8–8.2 | 2.3 | 2.3 | Hickey et al. 2016 |
|  |  |  |  |  |  |  |  |  |  |  |  | 1.4 | Geometric mean used in SSD |
| Arthropoda (crustacean) | Paranephrops planifrons | Juvenile | 60 | EC10 | Growth (length) | Spring water | 20 | 14 | 6.5 | 7.8–8.2 | 2.2 | 2.2 | Hickey et al. 2016 |
| Chordata (fish) | Coregonus clupeaformis | Embryo, alevin, fry | 126 | NOEC | Development | Tap water (dechlorinated) | 7.5 | 10–16 | NRb | 6.0–7.4 | 6.3 | 6.3 | McGurk et al. 2006 |
|  | Galaxias maculatus | Juvenile | 40 | EC10 | Growth (weight) | Spring-fed river water | 15 | 14 | 6.5 | 7.2–7.5 | 2.0 | 2.0 | Hickey et al. 2013 |
|  | Gobiomorphus cotidianus | Juvenile | 21 | EC10 | Growth (weight) | Spring water | 15 | 11 | 6.5 | 7.8–8.2 | 22.5 | 22.5 | Hickey et al. 2016 |
|  | Oncorhynchus mykiss | Egg, fry | 30 (post-first feed) | NOEC | Larval mortality | Well water | 10 | 8–10 | 2.3 | 6.2 | 1.1 | 1.1 | Kincheloe et al. 1979 |
|  |  | Egg, fry | 30 (post first feed) | NOEC | Larval mortality | Well water | 10 | 8–10 | 2.3 | 6.2 | ≥ 4.5 | 4.5 | Kincheloe et al. 1979 |
|  |  |  |  |  |  |  |  |  |  |  |  | 2.2 | Geometric mean used in SSD |
|  | Oncorhynchus tshawytscha | Egg, fry | 30 (post first feed) | NOEC | Larval mortality | Well water | 10 | 8–10 | 2.3 | 6.2 | 2.3 | 2.3 | Kincheloe et al. 1979 |
|  | Pimephales promelas | Larvae | 7 | IC10 | Growth (weight) | Tap water (dechlorinated) | 25 | 12 | NRb | 6.9–7.5 | 52 | 52 | Nautilus Environmental 2011b |
|  | Salmo clarki | Egg, fry | 30 (post first feed) | NOEC | Larval mortality | Well water | 13 | 6-9 | 5 | 7.6 | 4.5 | 4.5 | Kincheloe et al. 1979 |
|  | Salvelinus namaycush | Embryo, alevin, fry | 146 | NOEC | Growth (weight) | Tap water (dechlorinated) | 7.5 | 10–16 | NRb | 6.0–7.4 | 1.6 | 1.6 | McGurk et al. 2006 |
| Chordata (amphibian) | Rana aurora | Embryo, larvae | 16 | NOEC | Growth (length) | Deep well water | 15 | 25.5 | NRb | 6.8 | 117 | 117 | Schuytema and Nebeker 1999c |
|  | Xenopus laevis | Tadpole | 10 | NOEC | Growth (weight) | Reconstituted water | 22 | 21–36 | NRb | 7.0–7.6 | 24.8 | 24.8 | Schuytema and Nebeker 1999b |
| Hardness 30–150 mg/L CaCO3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mollusca (mollusc) | Lampsilis siliquoidea | Juvenile | 28 | EC20 | Growth (weight) | Diluted well water | 23 | 105 | 12 | 8.0 | 17 | 17 | Wang et al. 2020 |
| Arthropoda (insect) | Chironomus dilutus | Larvae | 10 | IC10 | Growth (weight) | Reconstituted water | 23 | 46 | NRb | 6.9–7.5 | 5.8 | 5.8 | Nautilus Environmental 2011b |
|  | Deleatidium sp. | Larvae | 20 | NOEC | Mortality | Tap water (dechlorinated) | 15 | 40 | NRb | 7.5–7.8 | 20.3 | 20.3 | Martin and Thompson 2012 |
| Arthropoda (crustacean) | Ceriodaphnia dubia | Neonates | 7 | IC10 | Reproduction | Reconstituted water | 25 | 44 | NRb | 6.9–7.5 | 1.94 | 1.94 | Nautilus Environmental 2011b |
|  | Hyalella azteca | Juvenile | 42 | EC20 | Biomass | Reconstituted water | 22.9 | 94 | 10 | 8.0 | 11 | 11 | Soucek and Dickinson 2016 |
| Chordata (fish) | Danio rerio | Juvenile | 29 | NOEC | Mortality | Tap water (dechlorinated) | 28 | 107–142 | NRb | 8.1-8.3 | 200 | 200 | Learmonth and Carvalho 2015 |
|  | Galaxias maculatus | Juvenile | 40 | LC10 | Mortality | Spring-fed river water | 15 | 40 | 17.8 | 7.5–7.6 | 26.6 | 26.6 | Hickey et al. 2013 |
|  | Gobiomorphus cotidianus | Juvenile | 21 | LC10 | Mortality | Dechlorinated tap water (riverine) | 15 | 39 | 17.8 | 7.8 | 24.9 | 24.9 | Hickey et al. 2016 |
|  | Oncorhynchus mykiss | Embryo, alevin, fry | 42 | IC10 | Yolk development | Spring-fed river water | 14 | 39 | 17.8 | 7.6–7.7 | 120 | 120 | Hickey et al. 2013 |
|  | Pimephales promelas | Larvae | 7 | IC10 | Growth (weight) | Tap water (dechlorinated) | 25 | 50 | NRb | 6.9–7.5 | 6.6 | 6.6 | Nautilus Environmental 2011b |
| Chordata (amphibian) | Pseudacris regilla | Embryo | 10 | NOEC | Growth (length) | Well water | 22 | 75 | NRb | 6.6–6.7 | 56.7 | 56.7 | Schuytema and Nebeker 1999b |
| Hardness > 150 mg/L CaCO3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chlorophyta (microalga) | Chlorella sp. | Exponential growth | 3 | IC10 | Cell yield | Creek water | 25 | 376 | 77 | 7.9 | > 1,600 | 1,600 | van Dam et al. 2022 |
|  | Oocystis solitaria | Exponential growth | 3 | IC10 | Cell yield | Creek water | 25 | 376 | 77 | 7.9 | 1700 | 1,700 | van Dam et al. 2022 |
| Cnidaria (cnidarian) | Hydra viridissima |  | 4 | IC10 | Population growth | Creek water | 27 | 376 | 77 | 7.9 | 220 | 220 | van Dam et al. 2022 |
| Arthropoda (insect) | Chironomus dilutus | Larvae | 10 | IC10 | Growth (weight) | Reconstituted water | 23 | 172 | NRb | 6.9–7.5 | 120 | 120 | Nautilus Environmental 2011b |
| Arthropoda (crustacean) | Ceriodaphnia dubia | Neonates | 7 | IC10 | Reproduction | Reconstituted water | 25 | 166 | NRb | 6.9-7.5 | 28.5 | 28.5 | Nautilus Environmental 2011b |
|  | Daphnia magna | Neonates | 7 | NOEC | Reproduction | Reconstituted water | 25 | 156–172 | NRb | 7.5–8.6 | 358 | 358 | Scott and Crunkilton 2000 |
|  | Hyalella azteca | Juvenile | 14 | IC10 | Growth (weight) | Reconstituted water | 23 | 172 | NRb | 6.9–7.5 | 102 | 102 | Nautilus Environmental 2011b |
|  | Simocephalus heilongjiangensis |  | 11 | IC10 | Reproduction | Creek water | 25 | 376 | 77 | 8.1 | 45 | 45 | van Dam et al. 2022 |
| Chordata (fish) | Notropis topeka | Juvenile | 30 | NOEC | Growth | Deep well | 23.4 | 210–230 | 0.64–1.04 | 8.3 | 268 | 268 | Adelman et al. 2009 |
|  | Oncorhynchus mykiss | Embryo, alevin, fry | 37-40 | EC10 | Growth (weight) | Tap water (dechlorinated) | 14 | 176 | NRb | 6.9–7.3 | 335 | 335 | Nautilus Environmental 2011a |
|  | Pimephales promelas | Embryo, larvae | 32 | EC10 | Growth (biomass) | Dechlorinated Lake Michigan Water | 25 | 132–180 | NRb | 8.0–8.3 | 46.7 | 46.7 | US EPA 2010 |
| Chordata (amphibian) | Hyla versicolor | Juvenile | 52 | EC20 | Metamorphosis | Well water | 12 | 300 | 12 | 8.0 | 47 | 47 | Wang et al. 2020 |

a Values in this column used in individual SSD for each hardness range.

b NR = not reported.

## Appendix D: relationships between hardness and other major ion variables for Australian and New Zealand freshwaters

The studies that assessed the effect of hardness on nitrate toxicity all used the US EPA synthetic freshwater recipe (US EPA 2002) to prepare waters of different hardness. However, these water types also contain different concentrations of other major ions, including chloride and bicarbonate (the dominant contributor to alkalinity), making it impossible to fully conclude that hardness is the sole or key factor modifying nitrate toxicity. Hardness is often correlated with other major ions and water-quality characteristics that are derived from major ion concentrations and compositions, such as alkalinity and ionic strength (which is typically measured as electrical conductivity [EC]) and, in theory, hardness should represent a reasonable surrogate for these other variables. The extent to which this is the case for New Zealand freshwaters was assessed to ensure that the hardness-based nitrate DGVs can be validly applied. Unfortunately, no consolidated water-quality dataset for Australia was available to undertake the same analysis. It would be useful to undertake such an analysis in the future.

Freshwater data for New Zealand were supplied by the National Institute of Water and Atmospheric Research (NIWA), based on New Zealand’s National Water Quality Monitoring Network (NIWA 2023). This dataset contained approximately monthly data for major ions and associated variables (e.g. EC, alkalinity) for 77 river sites for a 12-month period in 1989. In total, there were 943 values for each variable. Figure D1 shows the relationships for hardness with EC, alkalinity and chloride. Each plot is overlain with the nitrate DGVs for waters of soft, moderate and high hardness, to assist with the assessment.

Hardness versus EC (Figure D1a): There is a reasonably good positive relationship between hardness and EC, although there is also marked variability including several outlier sites. In particular, there are 2 sites for which EC is higher than hardness would otherwise suggest (circled). The DGVs would be protective (and potentially over-protective) for the 2 outlier sites if ionic strength is a stronger toxicity-modifying factor than hardness alone. Overall, the hardness-based nitrate DGVs would still be applicable if ionic strength was the key factor modifying nitrate toxicity.

Hardness versus alkalinity (Figure D1b): There is a strong positive relationship between hardness and alkalinity, albeit with 2 outlier sites (circled). However, the DGVs will be protective (and potentially over-protective) for these if alkalinity is a stronger toxicity-modifying factor than hardness. Overall, the hardness-based nitrate DGVs would still be applicable if alkalinity was the key factor modifying nitrate toxicity.

a

b

c

Figure D1 Relationships for (a) hardness and electrical conductivity, (b) hardness and alkalinity and (c) hardness and chloride for freshwater in New Zealand (based on data from 1989 for 77 freshwater sites around New Zealand). Green and orange dashed lines separate the hardness ranges for the 3 hardness-related DGVs

Hardness versus chloride (Figure D1c): There is a poor relationship between hardness and chloride. While the relationship is generally positive (i.e. chloride increases as hardness increases), the extent to which chloride increases as hardness increases varies greatly. This is of potential concern for the nitrate DGVs, given that chloride is the most likely alternative candidate to act as a significant modifier of nitrate toxicity. There are 2 main groups of outlier sites (circled and marked ‘1’ and ‘2’ in Figure D1c). Where chloride is a stronger toxicity-modifying factor than hardness, the following can be concluded.

- Waters with low hardness/low chloride will have a conservative soft-water DGV of 1.1 mg/L, which seems appropriate. There might be some cases where the soft-water DGV is overly conservative (i.e. over-protective) for low-hardness sites that have slightly higher chloride concentrations, as roughly denoted by the group marked as ‘3’ in Figure D1c.

- Waters with intermediate hardness/intermediate chloride will have an intermediate DGV of 2.6 mg/L, which seems appropriate. However, the DGVs might be over-protective for the group marked as ‘1’ in Figure D1c (lower hardness/higher chloride).

- The DGVs might not be protective for the outlier sites marked as ‘2’ in Figure D1c (higher hardness/lower chloride). However, the dataset indicates that there are no (or very few) high-hardness/high-chloride waters in New Zealand, so the high-hardness DGV of 29 mg/L could potentially not be used for New Zealand waters, with the intermediate DGV of 2.6 mg/L being applied to waters with high hardness/low chloride (i.e. to minimise the risk of applying under-protective DGVs).

Overall, and notwithstanding the lack of a good relationship between hardness and chloride, the hardness-based DGVs appear to be generally applicable to many New Zealand water types. Where they are not applicable (e.g. the outlier sites indicated in Figure D1), it would be expected that conservative DGVs would be applied or that site-specific DGVs would need to be derived.

Without a similar analysis for Australia, it is difficult to conclude the applicability of the hardness-based nitrate DGVs. However, the same principles would apply as described above for New Zealand waters. Users should assess the relationships between hardness and EC, alkalinity and chloride, and determine if the relevant hardness-based nitrate DGV is appropriate or potentially over-protective or under-protective if these other 3 variables are stronger drivers of nitrate toxicity than hardness. As noted in sections 3 and 0, more research is needed to better understand the key factors that modify nitrate toxicity. However, until such knowledge exists, the current hardness-based DGVs for nitrate are considered appropriate within the constraints described above.

## References

Adelana SM, Heaven MW, Dresel PE, Giri K, Holmberg M, Croatto G and Webb J (2020) ‘Controls on species distribution and biogeochemical cycling in nitrate-contaminated groundwater and surface water, south-eastern Australia’, Science of The Total Environment, 726:138426, doi:10.1016/j.scitotenv.2020.138426.

Adelman IR, Kusilek LI, Koehle J and Hess J (2009) ‘Acute and chronic toxicity of ammonia, nitrite and nitrate to the endangered Topeka shiner (Notropis topeka) and fathead minnows (Pimephales promelas)’, Environmental Toxicology and Chemistry, 28:2216–2223, doi:10.1897/08-619.1.

Alonso Á and Camargo J (2013) ‘Nitrate causes deleterious effects on the behaviour and reproduction of the aquatic snail Potamopyrgus antipodarum (Hydrobiidae, Mollusca)’, Environmental Science and Pollution Research, 20:5388–5396, doi:10.1007/s11356-013-1544-x.

ANZECC and ARMCANZ (Australian and New Zealand Environment and Conservation Council and Agriculture and Resource Management Council of Australia and New Zealand) (2000) Australian and New Zealand Guidelines for Fresh and Marine Water Quality, volume 1, the guidelines, ANZECC and ARMCANZ.

ANZG (Australian and New Zealand Guidelines) (2018) Australian and New Zealand Guidelines for Fresh and Marine Water Quality, Australian and New Zealand governments and Australian state and territory governments.

Baker JA, Gilron G, Chalmers BA and Elphick JR (2017) ‘Evaluation of the effect of water type on the toxicity of nitrate to aquatic organisms’, Chemosphere, 168:435–440, doi:10.1016/j.chemosphere.2016.10.059.

Barker T, Hatton K, O’Connor M, Connor L and Moss B (2008) ‘Effects of nitrate load on submerged plant biomass and species richness: results of a mesocosm experiment’, Fundamental and Applied Limnology, 173:89–100, doi:10.1127/1863-9135/2008/0173-0089.

Camargo JA, Alonso Á and Salamanca A (2005) ‘Nitrate toxicity to aquatic animals: a review with new data for freshwater invertebrates’, Chemosphere, 58:1255–1267, doi:10.1016/j.chemosphere.2004.10.044.

Camargo JA and Alonso Á (2006) ‘Ecological and toxicological effects of inorganic nitrogen pollution in aquatic ecosystems: a global assessment’, Environment International, 32,831–849, doi:10.1016/j.envint.2006.05.002.

CCME (Canadian Council of Ministers of the Environment) (2012) Scientific criteria document for the development of the Canadian water quality guidelines for the protection of aquatic life: nitrate ion, CCME, National Guidelines and Standards Office, Water Policy and Coordination Directorate, Environment Canada, Winnipeg.

Guillette LJ and Edwards TM (2005) ‘Is nitrate an ecologically relevant endocrine disruptor in vertebrates?’, Integrative and Comparative Biology, 45:19–27, doi:10.1093/icb/45.1.19.

Hannas BR, Das PC, Li H and LeBlanc GA (2010) ‘Intracellular conversion of environmental nitrate and nitrite to nitric oxide with resulting developmental toxicity to the crustacean Daphnia magna’, PloS One, 5:e12453, doi:10.1371/journal.pone.0012453.

Harris GP (2001) ‘Biogeochemistry of nitrogen and phosphorus in Australian catchments, rivers and estuaries: effects of land use and flow regulation and comparisons with global patterns’, Marine and Freshwater Research, 52:139–149, doi:10.1071/MF00031.

Harris RR and Coley S (1991) ‘The effects of nitrite on chloride regulation in the crayfish Pacifastacus leniusculus Dana (Crustacea, Decapoda)’, Journal of Comparative Physiology B, 161:199–206, doi:10.1007/BF00262884.

Hickey CW (2002) Nitrate guideline values in ANZECC 2000, National Institute of Water and Atmospheric Research Memorandum, Hamilton, New Zealand.

Hickey CW (2013) Updating nitrate toxicity effects on freshwater aquatic species, ELF13207; HAM2013-009, National Institute of Water and Atmospheric Research report prepared for the Ministry of Building, Innovation and Employment, Hamilton, New Zealand.

Hickey CW and Martin ML (2009) A review of nitrate toxicity to freshwater aquatic species, Technical Report No. R09/57, Environment Canterbury, Christchurch, New Zealand.

Hickey CW, Thompson KJ, Albert A and Martin ML (2013) Chronic sensitivity of juvenile inanga (Galaxias maculatus) and early life-stage rainbow trout (Oncorhynchus mykiss) to nitrate, HBR13207; HAM2013-012, National Institute of Water and Atmospheric Research report for Hawke’s Bay Regional Council, Hamilton, New Zealand.

Hickey CW, Thompson KJ, Martin ML, Albert A, Bell S and Raymond M (2016) Data report for chronic nitrate toxicity to freshwater species: common bully, sphaeriid bivalve, freshwater crayfish and snail, FWWQ1703, National Institute of Water and Atmospheric Research data report, Hamilton, New Zealand.

Jensen FB (1996) ‘Uptake, elimination and effects of nitrite and nitrate in freshwater crayfish (Astacus astacus)’, Aquatic Toxicology, 34:94–104, doi:10.1016/0166-445X(95)00030-8.

Kincheloe JW, Wedemeyer GA and Koch DL (1979) ‘Tolerance of developing salmonid eggs and fry to nitrate exposure’, Bulletin of Environmental Contamination and Toxicology, 23:575–578, doi:10.1007/BF01770006.

Lambert SJ and Davy AJ (2010) ‘Water quality as a threat to aquatic plants: discriminating between the effects of nitrate, phosphate, boron and heavy metals on charophytes’, New Phytologist, 189,1051–1059, doi:10.1111/j.1469-8137.2010.03543.x.

Langdon K, Warne M StJ and Sunderam RIM (2009) ‘A compilation of data on the toxicity of chemicals to species in Australasia. Part 4: metals (2000–2009)’, Australasian Journal of Ecotoxicology, 15:51–186.

Learmonth C and Carvalho AP (2015) ‘Acute and chronic toxicity of nitrate to early life stages of zebrafish-setting nitrate safety levels for zebrafish rearing’, Zebrafish, 12:305–311, doi:10.1089/zeb.2015.1098.

Markich SJ, Warne M StJ and Roberts CJ (2002) ‘A compilation of data on the toxicity of chemicals to species in Australasia. Part 3: metals’, Australasian Journal of Ecotoxicology, 8:1–72.

Martin ML and Thompson KJ (2012) Chronic sensitivity of two native New Zealand species (freshwater fish – inanga Galaxias maculatus and mayfly – Deleatidium sp.) to nitrate, HBR12230, National Institute of Water and Atmospheric Research report for Hawke’s Bay Regional Council, Hamilton, New Zealand.

McGurk MD, Landry F, Tang A and Hanks CC (2006) ‘Acute and chronic toxicity of nitrate to early life stages of lake trout (Salvelinus namaycush) and lake whitefish (Coregonus clupeaformis)’, Environmental Toxicology and Chemistry, 25:2187–2196, doi:10.1897/05-270r.1.

MfE (Ministry for the Environment) (2014) National Policy Statement for Freshwater Management 2014, MfE, Wellington, New Zealand, accessed 23 April 2024.

MfE (2018) A guide to attributes in Appendix 2 of the National Policy Statement for Freshwater Management (as amended 2017), MfE, Wellington, New Zealand, accessed 23 April 2024.

Mount DR, Gulley DD, Hockett JR, Garrison TD and Evans JM (1997) ‘Statistical models to predict the toxicity of major ions to Ceriodaphnia dubia and Pimephales promelas (fathead minnows)’, Environmental Toxicology and Chemistry, 16:2009–2019, doi:10.1002/etc.5620161005.

Nautilus Environmental (2011a) Evaluation of the role of hardness in modifying the toxicity of nitrate to rainbow trout, final report submitted to Mining Association of British Columbia, Vancouver, Canada.

Nautilus Environmental (2011b) Evaluation of the role of hardness in modifying the toxicity of nitrate to freshwater organisms, final report submitted to Mining Association of British Columbia, Vancouver, Canada.

NIWA (National Institute of Water and Atmospheric Research) (2023) NIWA hydro web portal for hydrometric and water quality data, NIWA website, accessed 6 March 2023.

Rescan (2012) EKATI Diamond Mine: site-specific water quality objective for nitrate, 2012, report prepared for BHP Billiton Canada Inc. by Rescan Environmental Services Ltd, Yellowknife, Canada.

Richards LA, Vuachère M and Schäfer AI (2010) ‘Impact of pH on the removal of fluoride, nitrate and boron by nanofiltration/reverse osmosis’, Desalination, 261:331–337, doi:10.1016/j.desal.2010.06.025.

Schuytema GS and Nebeker AV (1999a) ‘Comparative toxicity of ammonium and nitrate compounds to Pacific treefrog and African clawed frog tadpoles’, Environmental Toxicology and Chemistry, 18:2251–2257, doi:10.1002/etc.5620181019.

Schuytema GS and Nebeker AV (1999b) ‘Comparative effects of ammonium and nitrate compounds on Pacific treefrog and African clawed frog embryos’, Archives of Environmental and Contamination Toxicology, 36:200–206, doi:10.1007/s002449900461.

Schuytema GS and Nebeker AV (1999c) ‘Effects of ammonium nitrate, sodium nitrate and urea on red-legged frogs, Pacific treefrogs and African clawed frogs’, Bulletin of Environmental and Contamination Toxicology, 63:357–364, doi:10.1007/s001289900988.

Scott G and Crunkilton RL (2000) ‘Acute and chronic toxicity of nitrate to fathead minnows (Pimephales promelas), Ceriodaphnia dubia and Daphnia magna’, Environmental Toxicology and Chemistry, 19:2918–2922, doi:10.1002/etc.5620191211.

Singh S, Anil AG, Kumar V, Kapoor D, Subramanian S, Singh J and Ramamurthy PC (2022) ‘Nitrates in the environment: a critical review of their distribution, sensing techniques, ecological effects and remediation’, Chemosphere, 287(1):131996, doi:10.1016/j.chemosphere.2021.131996.

Soucek DJ and Dickinson A (2016) ‘Influence of chloride on the chronic toxicity of sodium nitrate to Ceriodaphnia dubia and Hyalella azteca’, Ecotoxicology, 25:1406–1416, doi:10.1007/s10646-016-1691-1.

Sueitt APE, Yamada-Ferraz TM, Oliveira AF, Botta CMR, Fadini PS, Nascimento MRL, Faria BM and Mozeto AA (2015) ‘Ecotoxicological risks of calcium nitrate exposure to freshwater tropical organisms: laboratory and field experiments’, Ecotoxicology and Environmental Safety, 117:155–163, doi:10.1016/j.ecoenv.2015.03.034.

US EPA (United State Environmental Protection Agency) (2002) Short-term methods for estimating the chronic toxicity of effluents and receiving waters to freshwater organisms. Fourth edition, EPA-821-R-02-013, Office of Water, US EPA, United States Government.

US EPA (2010) Final report on acute and chronic toxicity of nitrate, nitrite, boron, manganese, fluoride, chloride and sulfate to several aquatic animal species, EPA 905-R-10-002, US EPA, United States Government.

US EPA (2023a) ECOTOX knowledgebase. Version 4.0, US EPA website, accessed 23 April 2024.

US EPA (2023b) Causal Analysis/Diagnosis Decision Information System (CADDIS). Ammonia, US EPA website, accessed 31 July 2023.

van Dam RA, Bankin K and Parry D (2022) ‘Derivation of site-specific guideline values for nitrate toxicity in Pilbara receiving waters with high hardness’, Integrated Environmental Assessment and Management, 18:1035–1046, doi:10.1002/ieam.4557.

Wang N, Dorman RA, Ivey CD, Soucek DJ, Dickinson A, Kunz BK, Steevens JA, Hammer EJ and Bauer CR (2020) ‘Acute and chronic toxicity of sodium nitrate and sodium sulfate to several freshwater organisms in water-only exposures’, Environmental Toxicology and Chemistry, 39:1071–1085, doi:10.1002/etc.4701.

Warne MStJ, Batley GE, van Dam RA, Chapman JC, Fox DR, Hickey CW and Stauber JL (2018) Revised method for deriving Australian and New Zealand water quality guideline values for toxicants, report prepared for the Australian and New Zealand Guidelines for Fresh and Marine Water Quality, Australian and New Zealand governments and Australian state and territory governments.

Whitehead AL, Fraser C, Snelder TH, Walter K, Woodward S and Zammit C (2021) Water quality state and trends in New Zealand rivers: analyses of national data ending in 2020, National Institute of Water and Atmospheric Research client report 2021296CH, prepared for Ministry for the Environment, Christchurch, New Zealand.

Wickins J (1976) ‘The tolerance of warm-water prawns to recirculated water’, Aquaculture, 9:19–37, doi:10.1016/0044-8486(76)90045-4.